## Slide 1: Handling tags within AF when in a non-English environment
There are only differently wrong answers.

## Slide 2: The problem

## Slide 3: Examples use Japanese
工場 = Factory (Element)
センサー = Sensor (Attribute)
The ー in センサー is one the characters that cannot be used in tag names.

## Slide 4: The problem this leads to
If one uses an AF Template with an attribute name such as センサー, then the automatic tag referencing will not work. Neither when creating tags or looking one up.

## Slide 5: Impossible to avoid such characters
The ー in センサー is one of top ten most frequently used Japanese characters.
The list of characters that cannot be used is base on the way characters are encoded, thus it is really impossible for a user to practically avoid using such characters.

## Slide 6: 6 ways to deal with them

## Slide 7: Method: Use English for AF element name attribute (i.e. don’t use Japanese)
As tag names only really properly handle English characters and other long standing encoding issues. It might be best to simply use English everywhere in AF.

## Slide 8: How to do so:
Using all the default ways to refer to tags. That is, have access to all string references that are made available.

## Slide 9: Result:
Resulting tag name: Factory6.Sensor

## Slide 10: Pros
By far the easiest option.
The best supported option.
Great for existing customers who already have a large amount of tags.
Customers in Japan already use this strategy
Cons
Everything is in English.

## Slide 11: Method: All tags name are manually selected
The tag names and AF structures are divorced enough not to be able to use tag naming

## Slide 12: How to do so:
…

## Slide 13: Result:
Resulting tag name: Sinusoid

## Slide 14: Pros
Can be quickly used as it requires no planning.
Already used by existing customers.
Cons
Misses out on a big feature of AF.

## Slide 15: Method: Encoding the tag names (タグ名＝Tag name)
Trying, in AF, to handle all the characters that cannot be used and encoding them in some way.

## Slide 16: How to do so:
T;Replace(%Element%,"ー","30FC");Replace(%..|attribute%,"ー","30FC");;
Child attribute of the attribute to handle the conversion.
The conversion can be done with a string builder, going over each character. This would have to be nested for each character that needs to be encoded.
A much better solution would be to use a custom data reference to replace the string builder.
Tag names cannot start with a Japanese character, thus forced to add in a placeholder such as adding in the letter “T”.

## Slide 17: Result:
Resulting tag name: T工場３センサ30FC

## Slide 18: Pros
Allows Japanese to be used in tag names
Useful when you only sometimes needs to look at tag names
Cons
The Japanese being used is really garbage
The custom data reference must be built
Tag names are handled differently base on the user local, thus, changing to a different local could mean you can no longer access tags

## Slide 19: Method: Abuse the description field
Store all the information regarding tag names into the description field of elements and attributes

## Slide 20: How to do so:
In elements and attributes’ description field, store a translation of the name of elements
To refer to the tag name, you must then access the various description field:
%ElementDescription%.%Description%

## Slide 21: Result:
Resulting tag name: Factory1.Sensor

## Slide 22: Pros
Gives good tag names.
Can be used by existing customers.
Cons
Lose the use of the description field
Doubles the effort of creating an element

## Slide 23: Method: Using table look up
Store all the information regarding tag names in an AF Table

## Slide 24: How to do so:
A table that handles all the translations.
Underneath a tag naming attribute, you add SQL references to look up each pieces of the translations.

## Slide 25: Result:
Resulting tag name: Factory5Sensor

## Slide 26: Pros
Gives good tag names.
Cons
Compared with abusing the description field, no lose of AF features
Doubles the effort of creating an element
Requires good understanding of AF.

## Slide 27: Method: Give up on tag names
Give up on meaningful tag names and simply give them a unique identifier.
Instead store the relevant information into the descriptor field of AF.

## Slide 28: How to do so:
The tag name is simply the attribute ID
The information about the tag is stored in the descriptor field

## Slide 29: Result:
Resulting tag name: 602afb01-f814-5699-2701-49e2cc27d22a
Gives a non-meaningful tag name, but possible to search for the tag using Japanese

## Slide 30: Pros
Great for new customers
Easily to implement
Cons
Harder to manage tags.